TABLES FOR IEEE PAPER — FINAL APPROVAL

A Controlled Evaluation of Temporal, Attention-Based, and Multi-Scale
Representations for Multi-Label 12-Lead ECG Classification on PTB-XL

Tables I through V
For Professor Review and Final Approval

Dataset: PTB-XL v1.0.3  |  Test Protocol: Official Fold-10 (N = 2,158)  |  Research Freeze: 2026-09-04  |  Tables Status: Finalized

TABLE I. Dataset and Patient-Isolated Fold-10 Evaluation Split

| Partition | Folds | ECG Records | Patients |
| --- | --- | --- | --- |
| Training | 1–8 | 17,084 | 14,823 |
| Validation | 9 | 2,146 | 1,917 |
| Test (Frozen Fold 10) | 10 | 2,158 | 1,877 |
| Total Retained Diagnostic | 1–10 | 21,388 | 18,477 |
| Original PTB-XL v1.0.3 | 1–10 | 21,799 | 18,885 |

Note. Input: 12-lead 100-Hz ECG, shape 12 x 1,000 samples. Preprocessing: 2nd-order Butterworth bandpass (0.5–40 Hz), per-lead Z-score normalization. No patient overlap observed between training, validation, and test partitions. Of 21,799 total PTB-XL records, 411 lacked any diagnostic superclass mapping and were excluded; 21,388 records were retained for the diagnostic multi-label task. Sources: table_I_dataset_split.csv; four_model_prediction_alignment.json.

TABLE II. Architecture and Computational Characteristics

| Model | Architecture | Temporal Pooling / Aggregation | Parameters | Latency (ms/ECG) | Throughput (ECG/s) | Checkpoint (MB) |
| --- | --- | --- | --- | --- | --- | --- |
| ECGResNet-GAP | 1D Residual CNN | Global Average Pooling (GAP) | 3,919,493 | 24.1 | 41.4 | 15.73 |
| ECGResNet-Attention | 1D Residual CNN | Lightweight Temporal Attention Pooling (+513 params) | 3,920,006 | 16.0 | 62.6 | 15.73 |
| XResNet1D | CV Stride-Tweaked 1D Residual CNN | Anti-Aliased Pooling | 3,931,525 | 24.2 | 41.3 | 15.78 |
| InceptionTime1D | Multi-Scale Inception 1D CNN (k=9,19,39) | Global Average Pooling (GAP) | 3,886,149 | 24.1 | 41.6 | 15.61 |

Note. Parameter counts, CPU inference latency, throughput, and checkpoint file sizes read directly from table_II_model_complexity.csv. Inference measured on frozen Fold-10 (N = 2,158) under standardized CPU evaluation. Latency = total runtime / N; throughput = N / total runtime. The +513 parameter delta for ECGResNet-Attention corresponds to the Conv1d(512->1) temporal attention scoring layer relative to ECGResNet-GAP. This table is descriptive only; no model is designated best, optimal, or state-of-the-art.

TABLE III. Four-Model Performance on the Frozen Fold-10 Test Set (N = 2,158)

| Model | Macro-AUROC | AUROC 95% CI | Macro-AP | AP 95% CI | Macro-F1 | F1 95% CI | Weighted-F1 | Subset Acc. (%) | Hamming Loss |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ECGResNet-GAP | 0.8868 | [0.8766, 0.8958] | 0.7334 | [0.7148, 0.7532] | 0.6907 | [0.6738, 0.7066] | 0.7400 | 56.67 | 0.1399 |
| ECGResNet-Attention | 0.8979 | [0.8886, 0.9062] | 0.7644 | [0.7477, 0.7807] | 0.7052 | [0.6887, 0.7203] | 0.7507 | 58.71 | 0.1338 |
| XResNet1D | 0.8775 | [0.8669, 0.8871] | 0.7276 | [0.7097, 0.7457] | 0.6680 | [0.6520, 0.6833] | 0.7150 | 50.88 | 0.1606 |
| InceptionTime | 0.8991 | [0.8896, 0.9077] | 0.7636 | [0.7458, 0.7808] | 0.7070 | [0.6904, 0.7226] | 0.7548 | 58.80 | 0.1296 |

Note. All performance metrics evaluated on the frozen Fold-10 test set (N = 2,158) read directly from table_III_main_benchmark.csv. Macro-AUROC and Macro-AP are threshold-independent ranking metrics. Macro-F1, Weighted-F1, Subset Accuracy, and Hamming Loss use Fold-9 validation-tuned thresholds. 95% empirical bootstrap confidence intervals derived from 1,000 paired resamples (SEED = 42). Bold indicates the best result for each metric across the four architectures.

TABLE IV. Paired Bootstrap Comparison: ECGResNet-Attention vs. ECGResNet-GAP (Attention − GAP, B = 1,000 resamples, Seed = 42)

| Metric | Difference (Δ) | 95% CI Lower | 95% CI Upper | P(Attention > GAP) | Significance |
| --- | --- | --- | --- | --- | --- |
| Macro-AUROC | +0.0110 | +0.0070 | +0.0152 | 100.0% | Significant (Positive) |
| Macro-AP | +0.0310 | +0.0205 | +0.0420 | 100.0% | Significant (Positive) |
| Macro-F1 | +0.0144 | +0.0032 | +0.0264 | 99.6% | Significant (Positive) |

Note. Paired bootstrap comparison computed on identical patient-aligned Fold-10 test records (N = 2,158) read directly from table_IV_paired_bootstrap.csv. Observed difference (Δ) = ECGResNet-Attention minus ECGResNet-GAP. 95% bootstrap confidence interval derived from 1,000 paired resamples with fixed seed (SEED = 42). P(Attention > GAP) represents the empirical bootstrap probability of superiority. Bold denotes statistically significant improvements where the 95% CI strictly excludes zero.

TABLE V. Per-Class Performance Across the Four ECG Architectures (Fold-10, N = 2,158)

| Model | AUROC (NORM) | AP (NORM) | AUROC (STTC) | AP (STTC) | AUROC (CD) | AP (CD) | AUROC (MI) | AP (MI) | AUROC (HYP) | AP (HYP) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ECGResNet-GAP | 0.9316 | 0.9050 | 0.9168 | 0.7793 | 0.9025 | 0.8066 | 0.9151 | 0.7906 | 0.7682 | 0.3854 |
| ECGResNet-Attention | 0.9408 | 0.9198 | 0.9284 | 0.8226 | 0.9060 | 0.8210 | 0.9190 | 0.8167 | 0.7951 | 0.4417 |
| XResNet1D | 0.9161 | 0.8815 | 0.9154 | 0.7811 | 0.8990 | 0.7848 | 0.8791 | 0.7563 | 0.7779 | 0.4342 |
| InceptionTime | 0.9385 | 0.9111 | 0.9276 | 0.8133 | 0.9200 | 0.8433 | 0.9194 | 0.8166 | 0.7899 | 0.4337 |

Note. Per-class AUROC and Average Precision (AP) for the 5 diagnostic superclasses on frozen Fold-10 (N = 2,158) read directly from table_V_per_class.csv. Both metrics are threshold-independent. Bold indicates the best result for each diagnostic superclass across architectures. Class positive support: NORM = 963, STTC = 521, CD = 496, MI = 550, HYP = 262.